## Slide 1: DuckDB

## Slide 2: DuckDB is…
In other words, we can run SQL queries on flat flies on Aurecon devices.
DuckDB is a fast, in-process analytical database.
It can run in memory, so there is no need to preserve the data on disk, reducing the need for data engineering.
Contains a wealth of methods to process data (regression, geospatial)
It can parse GBs in 2,3 seconds on a regular laptop

## Slide 3: Existing workflows at Aurecon
Clean-up data sets (Collgar, clean up a data dictionary)
ETL (SKA-Low, add weather data to survey)
Geospatial analyses (today)
Reports on flat data (Personal Finance)
Ad-hoc queries on large data sets (Transmission)
Migrating cloud workflow back on our laptops (Dion)

## Slide 4: Jerome Lefebvre
Manager @ Aurecon within Asset Management Performance
  This talk is inspired by work at Aurecon but not done as part of Aurecon
Last 10 years
  Helping companies gain operational efficiencies using real-time data
Python credentials:
  Aspirational (rocking somepythonguy@gmail.com since 2005)
  https://github.com/JeromeLefebvre/DuckDB-Era5-Transmission
Today:
  Measuring the impact of weather on the electricity grid (using DuckDB and Python)

## Slide 5: The WA energy future and the grid
Transmission lines are hard:
There is a backlog
Costly
Our favourite pastime is NIMBYsm
WA Energy transmission:
Solar
Wind
Batteries
Lots of hope

## Slide 6: Weather's impact on transmission lines: SAG
Risk:
Fires
Trips
Safety
There is also a loss of operational efficiency as sag leads to less capacity of the grid

## Slide 7: Thermal Capacity
Maximal Thermal Capacity
Net Current Carrying Capacity

## Slide 8: Thermal Capacity
Heat Gain:
High ambient temp
Solar irradiance
Maximal Thermal Capacity
Net Current Carrying Capacity

## Slide 9: Thermal Capacity
Heat Gain:
High ambient temp
Solar irradiance
Heat Loss:
Low ambient temp
Wind
Maximal Thermal Capacity
Net Current Carrying Capacity

## Slide 10: Thermal Capacity
Heat Gain:
High ambient temp
Solar irradiance
Heat Loss:
Low ambient temp
Wind
Maximal Thermal Capacity
Net Current Carrying Capacity
Static Rating
Potential Capacity

## Slide 11
Static Capacity

## Slide 12: Approach: Attach sensors all over the place

## Slide 13: Out of the box software
Notes: https://www.powline.com/technotes/ThermalRating.pdf

## Slide 14: Approach: Simulate the weather loss

## Slide 15
$$$
A fair fight!

## Slide 16: Needs Three ingredients
Calculating the impact of weather on transmission lines
Transmissions lines
Weather Data

## Slide 17: Calculations

## Slide 18
Notes: https://www.powline.com/technotes/ThermalRating.pdf

## Slide 19: The transmission data
Geospatial data
Capacity
Name

## Slide 20: What is BOM Data

## Slide 21: What is BOM Data

## Slide 22: Let’s use simulated weather data
Add image

## Slide 23: Today’s Data Flow
Era5 or BOM Weather
.csv, .parquet, .json
Western Power Transmission.shp
DuckDB
Scripting
Merge
Inputs
Enrich
Visualise
Query#1
Calculate averages
Query#3
Join the inputs
Query#2 Decompose into spans
Query#4
Apply model
Query #5, #6, #7
What about this?
What about that?
Power BI/Excel,
QGIS, Grafana, qStudio

## Slide 24: Where will new lines be built?

## Slide 25
8am
8am
8am
8am
8am
Average weather at 8am
On a January
Year: 200*, month: January
Weather average

## Slide 26: Queries
#1 Split the Western Power Grid into segment, add foreign keys
# 2 Apply some averages the to weather
#3 Joining the data set
#4 Add in IEEE738 Calculations (python)
Average 8 am in June-July power efficiency gain?
Should we ask this battery to only discharge at 5 pm?
Part of the grid most impacted by the extreme weather?
#5, #6, #7, …

## Slide 27: From python
If using Jupyter install jupysql

## Slide 28: Compare sizes